CENTRAL BANK OF INDIA

REQUEST FOR PROPOSAL -- FOR SUPPLY, INSTALLATION AND MAINTENANCE OF HYBRID SOLAR POWER SYSTEMS ON BUILT, OWN AND OPERATE (Rental) BASIS.

Central Bank of India

Zonal Computer Center- Lucknow

(Akashdweep Building,   23- Vidhan Sabha Marg

Lucknow- 226001)

TABLE OF CONTENTS:

| Sr. No. | Subject | Page No. |
| --- | --- | --- |
| 1. | Bid Details | 3 |
| 2. | Bidder’s Undertaking | 4 |
| 3. | Instructions To Bidder | 7 |
| 4. | Scope Of Work | 8 |
| 5. | Pre-Qualification Criteria For Bidders (Annexure-I) | 18 |
| 6. | Term And Conditions (Annexure-II) | 20 |
| 7. | Bidders’ Information (Annexure-III) | 22 |
| 8. | Compliance Statement (Annexure-IV) | 23 |
| 9. | Service Support Details (Annexure-V) | 24 |
| 10. | Performance Statement(Annexure-VI) | 25 |
| 11. | Technical Specifications Of Solar power system (Annexure VII) | 26 |
| 12. | Commercial Statement (Annexure-VIII) | 27 |
| 13. | Check List (Annexure-IX) | 28 |
| 14. | OEM letter (Annexure-X) | 29 |

Following  terms are used in the document interchangeably to mean:

1.RFP means this “RFP document”

2.OEMs means “Original Equipment Manufacturers”

3.Tender means RFP response documents prepared by the bidder and submitted to

Bank.

Bid Details:

| 1. | Date of Commencement of Tender Download from website. | 23/12/2016 AT 10:00 hrs |
| --- | --- | --- |
| 2. | Last date & time for acceptance of Queries | 09/01/2017 upto 17:00 hrs |
| 3. | Date, time and venue of Pre- Bid Meeting | 10/01/2017 at 12:00 hrs Central Bank of India, Zonal Office, Akashdeep Building, 23- Vidhan Sabha Road, Lucknow- 226001 |
| 4. | Last date & time for physical bid submission along with supporting documents | 17/01/2017 at 17:00 hrs |
| 5. | Date /time of technical bid opening | 18/01/2017 at 15:00 hrs, Authorized representatives of vendors may be present during opening of the Technical Bids. However Technical Bids would be opened even in the absence of any or all of the vendors’ representatives. |
| 6. | Date /time of online commercial bid opening | On a subsequent date, which will be communicated to such bidders who qualify in the Technical Bid. |
| 7. | Place of opening of Technical Bids | Central Bank of India, Zonal Office, Akashdeep Building, 23, Vidhan Sabha Road, Lucknow-226001 |
| 8. | Address for communication | As Above, Tel:(0522) 2626301-04 ; (0522) 2618692; |
| 9. | Cost of RFP | Rs. 1000/- (One Thousand Only) Pay Order / DD in favor of Central Bank Of India, Zonal Office, Lucknow ; Payable at Lucknow. Non-refundable. |
| 10. | EMD Money | Rs. 1,00,000/- (One Lakh only) Pay Order/Demand Draft in favor of Central Bank Of India, Zonal Office, Lucknow ; Payable at Lucknow. The DD should be submitted [enclosed with the Technical bid] at the time of physical bid submission. To be paid by all interested parties to participate in the RFP process. Refundable only to not-selected parties. Will be refunded to Selected parties of the RFP, only after completion of the project. process. Refundable only to not-selected parties. Will be refunded to Selected parties, only after completion of the project. |
| 11 | Security Money | Rs. 2,00,000/- (Two Lakh only). Pay Order/Demand Draft in favor of Central Bank Of India, Zonal Office, Lucknow ; Payable at Lucknow. To be paid by selected parties in the RFP process (after found qualified in Technical & Commercial Bid stage). Only after depositing the Security Money, their WORK ORDER will be issued. Will be refunded, only after completion of the project. |
| 11. | Contact to Bidders | In case of any query, Interested Bidders may contact : zccluckzo@centralbank.co.in, gadluckzo@centralbank.co.in Giving the details : Name of company, contact person, mailing address with Pin Code, Telephone No., Fax No., email address, Mobile No. etc. |

Central Bank Of India

Tender Notice

Central Bank Of India invites technically complete and commercially competitive bids from eligible vendors for REQUEST FOR PROPOSAL FOR SUPPLY, INSTALLATION AND MAINTENANCE OF HYBRID SOLAR POWER SYSTEMS ON BUILT, OWN AND OPERATE BASIS.

RFP may be downloaded from e-procurement website  http://www.centralbankofindia.co.in The Complete RFP paper along with supporting documents in physical form should be submitted on or before 17/01/2017 up to 1700 hrs to Assistant General Manager, at following venue-

Zonal Office

Central Bank Of India

Akashdeep Building,

23- Vidhan Sabha Road,

Lucknow-226001

Schedule for submission of BID-

| Last date & time for acceptance of | 09/01/2017 up to 17:00 hrs. |
| --- | --- |
| Queries |  |
| Last date & time - Physical bid | 17.01.2017 17:00 hrs |
| submission |  |
| Technical Bid Opening | 18.01.2017 15:00 hrs |
| Commercial Bid Opening | Please refer tender schedule |

The order for installation of solar power systems will be split between L1 & L2 vendors in the ratio of 60 % and 40% respectively subject to L2 to match the price of L1 and at discretion of BANK. Bank’s decision will be final in this regard.

Assistant General Manager

Bidder’s  Undertaking

The Assistant General Manager

Zonal Office

Central Bank Of India

Akashdeep Building,

23- Vidhan Sabha Road,

Lucknow-226001

Sir,

Reg: Our bid for supply, installation and maintenance of Remote Monitoring (preferably) Based independent   Solar Power systems on Built, Own and operate basis in response to your Tender Notice.

With reference to the SOLAR POWER SYSTEM being quoted by us vide your tender cited above.

We hereby undertake that all the components / parts / assembly / software used in the SOLAR

POWER SYSTEM shall be original new components / parts / assembly / from respective OEMs of the products and that no refurbished / duplicate / second hand components / parts / assembly are being used or shall be used. Further the software / system used will be licensed.

Should you require, we hereby undertake to produce the certificate from our OEM supplier in support of above undertaking at the time of delivery installation. It will be our responsibility to produce such letters from our OEM supplier’s at the time of delivery or within a reasonable time.

In case of default/ unable to comply with above at the time of delivery or during installation, for the IT Hardware including SOLAR POWER SYSTEM / Software already billed, we agree to take back the supplied items without demur, if already supplied and return the money if any paid to us by you in this regard. We also take full responsibility of both Parts & Service SLA as per the content, even if there is any defect by our authorized Service Centre / Reseller / SI etc.

Date: -------- Place:

Yours faithfully,

Signature of Authorised Signatory

Designation

Seal of Company

The Assistant General Manager

Zonal Office

Central Bank Of India

Akashdeep Building,

23, Vidhan Sabha Road,

Lucknow-226001

Sir,

Reg.: Our bid for supply, installation and maintenance of  Hybrid Solar Power Systems on Built, Own and operate basis in response to your Tender Notice.

We submit our Bid Documents herewith

We understand that

• 	You are not bound to accept the lowest or any bid received by you, and you may reject all or any bid.

• 		If our Bid for the above job is accepted, we undertake to enter into and execute at our cost, when called upon by the bank to do so, a contract in the prescribed form. Unless and until a formal contract is prepared and executed, this bid together with your written acceptance thereof shall constitute a binding contract between us.

• 	If  our  bid  is  accepted,  we  are  to  be  jointly  and  severally  responsible  for  the  due performance of the contract.

• 	You may accept or entrust the entire work to one Bidder or divide the work to more than one bidder without assigning any reason or giving any explanation whatsoever.

• 	Bidder means the bidder who is decided and declared so after examination of commercial bids.

• 	The names  of  successful  bidder(s)  to  whom  the  contract  is  finally  awarded  after  the completion of Commercial Bid, shall be displayed on the Notice at Central Bank of India, Zonal Office,  Lucknow and a confirmation mail will be sent on registered Mail ID.

Date:

Place:

Yours faithfully,

Signature of Authorized Signatory

Name of Signatory: Designation:

Seal of Company

INSTRUCTIONS

Introduction:

Central  Bank  of  India  is  one  of  the  largest  Public  Sector  Bank  with  more  than  4800 Branches/Offices geographically located all across India. Central Bank of India, Lucknow Zone invites technically complete and commercially competitive proposal from reputed bidders for supply, Installation and Maintenance of HYBRID  SOLAR POWER SYSTEMS  on Built, Own and operate basis. The Bank proposes for supply, installation and maintenance on Built, Own and Operate basis (BOO) for approx. 100 ATMs of CBI under the area of all Districts of UP in Lucknow Zone  of CBI in phased manner. This invitation of Bids is open to all Original Equipment Manufacturers (OEM) or their authorized  agents/representative/dealers  having  presence  in  India,  provided  they  fulfill  the minimum  qualification criteria mentioned as under:

Minimum Eligibility Criteria for bidders:

| Sr. No | Pre-Qualification Criteria | Compliance (Yes/ No) | Remarks (if any) |
| --- | --- | --- | --- |
| 1. | The bidder should have national/state level presence and should be engaged in Solar PV Power business in India at least for last 2 years. |  |  |
| 2. | Bidder should be system Integrator or one of their authorized representatives in India. The bidder can have a pre-tender association with another system Integrator/ Technological partner/Technological associates to participate in the tender. However Bank will enter into an agreement only with Bidder who will be solely responsible for the Supply, Installation and Maintenance of Independent Solar Power systems on built, own and operate basis. In case of authorized representative, a letter of authorization to this effect from Manufacturer/System integrator/Supplier must be furnished in accordance with the format provided in Annexure X. |  |  |
| 3. | The bidder should have successfully implemented minimum 75 nos. SOLAR POWER SYSTEMs with remote monitoring system (preferably) in at least 2 Nationalized Banks / Financial institutions / Central Government organizations, for commercial purpose. The certificate to this effect from the organization/s where the bidder has installed the equipment along with a letter of satisfaction should be furnished along with Technical bid. i. Details of installed sites with full address to be submitted ii. Purchase Order from organization regarding number of sites installed iii. Letter of satisfaction from organizations where bidder has installed SPS equipment. II>. Total capacity (Solar power) rolled out till date (specify): |  |  |
| 4. | The bidder should have preferably turnover of Rs.50 lakh, minimum Rs 10 Lakh turnover in the last two financial years (2014-15 and 2015-16) and should have earned profit during each of last two financial years. Audited copy of Balance sheet for financial year 2014-2015 and provisional balance sheet for the year 2015-16 must be submitted along with Technical bid. |  |  |
| 5 | The bidder must be in position to provide the total support for complete system including to components of (Solar PV Module, Inverter & Battery) etc. An undertaking to this effect must be submitted along with Technical Bid. |  |  |
| 6 | The bidder should be able to provide efficient and effective support at all locations where the equipment will be supplied & installed under this bid. So as to meet 24 X 7 services. A commitment to this effect should be furnished. |  |  |
| 7 | Detailed technical specifications of each component of Solar Power System must be submitted in the technical bid. |  |  |
| 8. | The Bidder should have i) Pan card ii) Trade Tax / Sales Tax Registration iii) VAT registration iv) Service Tax registration v) TIN No. Registration (Documentry evidence should be submitted for all above registration.) |  |  |

SUPPORTING DOCUMENT FOR PRE QUALIFICATION FOR BIDDER :

All the interested bidders are requested to submit   technical bid along with the supporting document in physical form on or before bid submission time.  Please enclose documentary proof for all the above criteria. In absence of these, the bids will not be considered for further evaluation. No further correspondence will be entertained in this case.

SCOPE OF WORK :

1.To install, test, configure, commission & maintain the Hybrid Solar Power Systems  at various locations identified by the bank.

2. The selected bidder will enter into a monthly rental agreement with the bank for supply of various equipment as per models, specifications and functionality approved by the bank. The monthly rentals will be valid for a period of THREE years, if not revised earlier and Annual Maintenance Contract will be revised annually. The bidder will pass on to the bank, the benefit of discounts, any fiscal corrections, if any announced during any period in respect of orders placed during that period. The bidder will also provide the latest model available; if there is upward revision in the model offered, at no extra cost to the Bank, Bidder should implement it.

3. To specify the various infrastructure requirements that has to be provided for commissioning and smooth functioning of the equipment. This will include requirement of power, earthing & any other related items at the site is to be provided by the bidder.

4. The bank reserves the right to shift the equipment to a suitable location depending upon the need. The bidder will arrange to shift the equipment and install and commission the same.

5. Bidder should undertake to provide maintenance support to equipment and arrange for spare parts on a continuous basis within the prescribed TAT period.

6. Obtaining of the Road permits, form 32, other security forms, Octroi, Cess, Toll Trade tax etc. will be the sole responsibility of the bidder. However, Bank will sign the necessary forms as bank, as per the requirements.

7. The bidder should undertake to guarantee a minimum uptime of 98% and should execute service level agreement for the same.

8. Bidder to provide to the bank the weekly MIS report in the format as designed by the bank on real time basis.

9. Bidder to submit the feasibility report before the installation of the equipments and   obtain a certificate duly validated by the Bank.

10. The system should be capable to provide power for at least 16 hours during the day, 365 days a year irrespective of the rainy and weather condition as per mentioned requirements:

| S.No. | Location | Requirement |
| --- | --- | --- |
| 1. | ATM Sites | 1 KW and 1.5 KW |

11. The Centralized Monitoring systems should be capable of monitoring the uptime to ensure that power is available for 16 Hrs( duration as specified by the Bank) during the day, 365 days a year. The vendor must submit uptime reports to the bank weekly.

12. The vendor will be fully responsible for doing the required civil and structural works for making the system fully operational. All electrical/ data cabling to connect the solar PV systems, Battery Bank & Invertors shall be vendors responsibility. Vendor will be obliged to install solar panel at such place indicated by the bank at the ATM site.

13. Vendor should have the service center at the circle head quarter or district offices at a place where the solar power system has been installed. If the vendor doesn’t have the service center at any particular head quarter then undertaking to establish the same within one month of signing the contract is to be furnished by the bidder.

15. If the successful bidder, fails to fulfill its obligations under this arrangement, the banks shall have the right to-Terminate the contract with one month notice.

1.COST OF BIDDING

The Bidder shall bear all the costs associated with the preparation and submission of its bid, the bank will in no case be responsible or liable for these costs, regardless of the conduct or outcome of the bidding process.

2 . BIDDING DOCUMENT

The Bidder is expected to examine all instructions, forms, terms and conditions and technical specifications in the Bidding Documents. Failure to furnish all information or  suppressing any information  required by the Bidding Documents or submission of a bid not substantially responsive to the Bidding Documents in every respect will be at the Bidders’ risk and may result in the rejection of its bid. Bidder should strictly submit the bid as per RFP failing which the bid is likely to be rejected as non-responsive.

3. AUTHENTICATION OF ERASURES/OVERWRITING ETC.

Any inter-lineation, erasures, or overwriting shall be valid only if the person(s) signing the bid initial(s) them.

4.  AMENDMENT OF BIDDING DOCUMENTS

At any time prior to the last Date and Time for submission of bids, the Bank may, for any reason, modify the Bidding Documents through amendments at the sole discretion of the  Bank. All amendments shall be uploaded on the Bank’s websites (www.centralbankofindia.co.in) and will be binding on all who are interested in bidding. In order to provide prospective Bidders a reasonable time to take the amendment if any, into account in preparing their bid, the Bank may, at its discretion, extend the deadline for submission of bids.

5. CONTACTING THE BANK

Any effort by a bidder to influence the bank in evaluation of the Technical bid, bid comparison or contract award decision may result in the rejection of the Bidders' bid. Bank's decision will be final and without prejudice and will be binding on all parties.

6. PERIOD OF VALIDITY

i. Bids shall remain valid for a period of one year from the date of opening of the Bid.  A Bid valid for a shorter period may be rejected by the Bank as non-responsive.

ii. In exceptional circumstances, the Bank may solicit the Bidders’ consent to an extension of the period of validity. The request and the responses thereto shall be made in writing. The EMD provided shall also be suitably extended. A  Bidder may refuse the request without forfeiting its EMD.

iii. The Bank reserves the right to call for fresh quotes any time during the validity period, if considered necessary.

7. BIDDER PARTICIPATION

Bidder should be system Integrator or one of their authorized representatives in India. The bidder can have a pre-tender association with another system Integrator/ Technological partner/Technological associates to participate in the tender. However Bank will enter into an agreement only with Bidder who will be solely responsible for the Supply, Installation and Maintenance of Independent Solar Power systems on built, own and operate basis. In case of authorized representative, a letter of authorization to this effect from Manufacturer/System integrator/Supplier must be furnished in accordance with the format provided in Annexure X.

8. DEADLINE FOR SUBMISSION OF TECHNICAL BIDS

Bids must be submitted not later than the specified date and time mentioned in the Bid Document. In case of the specified date of submission of bids being declared a holiday for the bank, the bids will be received up to the specified time on the next working day. The bank may, at its discretion, extend this deadline for submission of bids by amending the bid documents, in which case all rights and obligations of the Bank and bidders, previously subject to the deadline, will thereafter be subject to the deadline extended. All the correspondence/bid should be addressed to Bank at the following address:

The Assistant General Manager

Zonal Office

Central Bank Of India

Akashdeep Building,

23- Vidhan Sabha Road,

Lucknow-226001

9  BID EARNEST MONEY

i.	The Bidder shall furnish, as part of its Technical Bid, an EMD of Rs.1,00,000.00(Rupees One Lakh only).

ii.   The EMD is required to protect the Bank against the risk of Bidder’s conduct, which would warrant the EMD’s forfeiture.

iii. The EMD shall be denominated in Indian Rupees and shall be in the form of a Demand Draft, issued by a any Scheduled Commercial Bank in India, in favor of Central Bank of India, Zonal Office,  Lucknow;  payable at Lucknow and valid  for a  period of <90 Days.

iv.   Any Bid not secured, as above, will be rejected by the Bank, as non-responsive.

v.   The EMD of the unsuccessful Bidders shall be returned within 2 weeks from the date of bid finalization.

The EMD may be forfeited:

a) if a Bidder withdraws his Bid during the period of Bid validity specified in this

RFP; or

b) if a Bidder makes any Statement or encloses any form which turns out to be false / incorrect at any time prior/post to signing of Contract; or

c) in the case of a successful Bidder, if the  Bidder fails;

(i)	to sign the Contract;

or

(ii)  to furnish Performance Bank Guarantee

10. BANKS RIGHT TO ACCEPT OR REJECT ANY BID OR ALL BIDS

The  bank  reserves  the  right  to  accept  or  reject  any  bid  and  annul  the  bidding  process  or even reject all bids at any time prior to award of contract, without thereby incurring any liability to the affected bidder or bidders or without any obligation to inform the affected bidder or bidders about the grounds for the bank's action. The bank reserves the right to accept or reject any technology proposed by the bidder. The bank reserves the right to select more than one bidder keeping in view its large requirements.

11. RELIABILITY

Since the equipment shall be installed at critical sites, the equipment so offered should be capable of generating power of 1.5 KW, 2.5 KW, atleast 16 hours during the day 365 days a year as per below mentioned requirements:

| Load | Requirements |
| --- | --- |
| ONE ATM + 2 CFL + FAN +VSAT Modem (Off-site ATMs) | 1.0 KW |
| ONE ATM + 2 CFL + FAN +Branch Router /Switch +Modem + Gateway Server (On- Site ATMs) | 1.5 KW |

12. REVELATION OF PRICES

The prices in any form or by any reasons should not be disclosed in the technical or other parts of the bid except in the commercial bid. Failure to do so will make the bid liable to be rejected.

13. CLARIFICATIONS OF BIDS

To assist in the examination, evaluation and comparison of bids the bank may, at its discretion, ask the bidder for clarifications. The response should be in writing and no change in the substance of the bid shall be sought, offered or permitted.

14. BIDDING PROCESS (TWO STAGES)

For the purpose of the present job, a two-stage bidding process will be followed. The response to the  present tender will be submitted in two parts:

For the purpose of the present job, a two-stage bidding process will be followed.

- Technical Bid   (Part I)

- Commercial Bid (Part II)

a. TECHNICAL BID (Part I)

The bidder will have to submit the Technical Bid in sealed envelopes, duly super scribing “RFP for    supply, installation and maintenance of Hybrid Solar Power systems on Built, Own and Operate  basis.”,  “TECHNICAL  BID”.

TECHNICAL  BID  will  also  contain  all  the  documents mentioned in the RFP. All the Annexure should be duly signed and stamped.

TECHNICAL BID should NOT contain any pricing or commercial information at all.Technical bid documents with any commercial information will be rejected.

In the first stage, only TECHNICAL BIDs will be opened and evaluated. Only those Bidders satisfying the technical requirements as determined by the Bank and accepting the terms and conditions of this document shall be short-listed for COMMERCIAL BID. The bid should not contain interlineations, erasures or over writing except as necessary to correct errors made by the Bidder, in which case such corrections shall be duly confirmed under signature of the person(s) signing the bid.

b. COMMERCIAL BID(Part II)

Under the second stage, the COMMERCIAL BID of only those bidders, whose technical bids are responsive, will be opened.

15. LANGUAGE

The bids prepared by the bidder and all correspondence and documents relating to the bids exchanged by the bidder and CBI, should be written in English language or in Hindi together with English translation. In case of any dispute English will be considered as final language.

16. OPENING OF TECHNICAL BIDS

All the bids will be opened at the date, time and locations mentioned in RFP (as per tender schedule). In the first stage, only TECHNICAL BID will be opened and evaluated. The technical bids will be opened in the presence of representatives of the bidders who choose to attend.

17. BID CURRENCY

The Prices in the bid document should be expressed in Indian Rupees only.

18. LATE BIDS

Any bid received by the Bank after the deadline for submission of bid will be rejected and/or returned unopened to the bidder at Bank discretion.

19. CONTENTS OF DOCUMENTS TO BE SUBMITTED

1.Supporting documents in respect of minimum Eligibility criteria (Annexure-I)

2. Acceptance of terms and conditions for participation in the bid event. (Annexure-II)

3. Bidders Information (Annexure-III).

4. Compliance Statement (Annexure-IV)

5. Any other document indicating the feature of the product

6. ISO Certification document, if any

7. Audited copy of Balance sheet for financial year 2013-2014 and 2014-15, Profit and Loss account Statement duly attested , must be submitted along with Technical bid.

8. Service Support Details (Annexure-V)

9. Performance Statement (Annexure-VI)

10.Technical Offer indicating compliance to the Banks requirement as per Technical specifications (Annexure-VII)

11. Commercial Statement (Annexure-VIII)

12. Check List (Annexure-IX)

11. OEM letter as per (Annexure-X)

12. Power of attorney in case of authorized person.

13. Commitment certificate for service support.

20. BID OPENING AND EVALUATION

Bids will be opened at the date time & place as mentioned in the RFP in the presence of the vendor who wants to attend. Any change to date and time will be displayed on the site of the bank and no separate notice will be sent. In the event of the specified date of bid opening being declared a holiday for bank, the bids shall be opened at the specified time and place on next working day. Those bidders satisfying the technical requirements as determined by the Bank and accepting the terms and conditions of this document shall be declared technically qualified and will be eligible for commercial stage of evaluation. The Bank reserves the right to accept or reject any technology proposed by the bidder without assigning any reason thereof. Decision of the Bank in this regard shall be final and binding on the bidders.

21. MODIFICATIONS AND/OR WITHDRAWAL OF BIDS

Bids once submitted will be treated, as final and no further correspondence will be entertained on this.

No bid will be modified after the deadline for submission of bids.

No bidder shall be allowed to withdraw the bid, if the bidder happens to be a successful bidder.

22. TECHNICAL EVALUATION PROCESS:

The technical bids shall be evaluated by a committee for the following:

-Compliance of eligibility criteria.

-Receipt of all/complete documents/information/undertakings etc.

-Compliance of technical specifications of the products quoted.

-Adherence to support set up requirements.

Bank may, if it deems necessary, ask for presentations of the bidder or site visits of their facilities to asses and satisfy itself on manufacturing/supply chain and support capabilities of the bidders.

23. PROCEDURE FOR FINALIZING L1 BIDDER:

L-1 bidder(s) will be shortlisted from the list of the bidders who have qualified the technical bid based on the lowest rate of Solar Power system on commercial bid.

24. INDEMINITY

Bidder shall have to indemnify the Bank against any loss/expenditure incurred or any disputes/claims from anybody for having used/using patented designs in their hardware pertaining to this order only. Any patented design used in solar power system equipment shall be under manufacturer’s license agreements and a copy of such agreement authorizing the bidder to manufacture the patented designs shall be given to the Bank. The bidder shall furnish Indemnity bond for providing adequate maintenance/service support for their Solar Power system which bank shall have the right to proceed against the bidder for damages legally or otherwise.

25. SITE PREPARATION AND INSTALLATION

The Bank will designate the installation site before the scheduled installation date, to allow the supplier to perform a site inspection to verify the feasibility of the sites before the installation/commissioning of the solution.

26. INSTALLATION/COMMISSIONING OF EQUIPMENT

The vendor is responsible for all unpacking and installation of systems. The supplier will test hardware/system operations and accomplish all adjustments necessary for successful and continuous operation of the hardware/software at all installation sites. Roof-rights from Landlord of premises where the system is being installed will be managed by the Vendor. Earthing shall be managed by the Vendor.

27. SIGNING OF CONTRACT

The successful bidder(s) shall be required to enter into a contract with the bank after monthly rental approval according to the terms and conditions of the RFP, within 30 days of the award of the tender or within such extended period as may be specified by Deputy General Manager), Central Bank of India, Zonal Office, Lucknow-, on the basis of the Tender Document, the Tender Response of the successful bidder, the letter of acceptance and such other terms and conditions as may be determined by the Bank to be necessary for the due performance of the work. Bank shall place order as per approved rate to approved bidder.

28. PATENT RIGHTS

The vendor shall indemnify the bank against all third party claims of infringement of patent, trademark or industrial design rights arising from use of the Goods, or any part thereof in India.

i. The supplier shall, at their own expense, defend and indemnify the Bank against all third party claims or infringement of intellectual Property Right, including Patent, trademark, copyright, trade/data secret or industrial design rights arising from use of the products or any part thereof in India or abroad.

ii. The vendor shall expeditiously extinguish any such claims and shall have full rights to defend it there from. If the Bank is required to pay compensation to a third party resulting from such infringement, the supplier shall be fully responsible for, including all expenses and court and legal fees.

iii. The Bank will give notice to the Supplier of any such claim without delay, provide reasonable assistance to the Supplier in disposing of the claim, and shall at no time admit to any liability for or express any intent to settle the claim.

29. GOVERNING LAW AND DISPUTES

All disputes or differences whatsoever arising between the parties out of or in relation to the construction, meaning and operation or effect of these Tender Documents or breach thereof shall be settled amicably. If, however, the parties are not able to solve them amicably, the same shall be settled by arbitration in accordance with the applicable Indian Laws, and the award made in pursuance thereof shall be binding on the parties. The Arbitrator/Arbitrators shall give a reasoned award. Any appeal will be subject to the exclusive jurisdiction of courts at Lucknow. The Bidder shall continue work under the contract during the arbitration proceedings unless otherwise directed in writing by the Bank or unless the matter is such that the work cannot possibly be continued until the decision of the arbitrator or the umpire, as the case may be, is obtained. The venue of the arbitration shall be Lucknow.

30. USE OF CONTRACT DOCUMENTS AND INFORMATION

The vendor shall not, without the bank’s prior written consent, make use of any document or information provided by Supplier in Bid document or otherwise except for purposes of performing contract.

31. ASSIGNMENT

The vendor shall perform its obligation under the contract personally and shall not assign, in whole or in part, its obligations to perform under the contract, to any third party, except without the Bank’s prior written consent.

32. PRE DISPATCH INSPECTION

Bank shall be free to carry out pre-dispatch inspection as and when required. The bidder shall make all necessary arrangement for this purpose. Bank will also conduct the random acceptance testing of Solar Power System to ascertain their configuration and quality.

33. DELAY IN THE SUPPLIER’S PERFORMANCE

Delivery  of  the  goods  and  performance  of  the  Services  shall  be  made  by  the  supplier  in accordance with the time schedule specified by bank. Any delay in performing the obligation by the supplier will result in imposition of liquidated damages and/or termination of rate contract for default.

34. LIMITATION OF LIABILITY

Bidder’s aggregate liability under the contract shall be limited to a maximum of the contract value. This limit shall not apply to third party claims for-

a. IP Infringement indemnity.

b. Bodily injury (including Death) and damage to real property and tangible property caused by Bidder/s’ gross negligence. For the purpose for the section, contract value at any given point of time, means the aggregate value of the purchase orders placed by bank on the Bidder that gave rise to claim, under this tender. Bidder shall not be liable for any indirect, consequential, incidental or special damages under the agreement/ purchase order.

35. PLACING THE ORDER AND PAYMENT BY CONCERNED OFFICES

The order for installation & operation shall be placed by the respective Regional Offices of Bank in favor of the bidder selected in the Commercial bid & with whom contract is entered into with the Bank. The Bidder shall give acceptance within 5 days from the date of receipt of the order. However, Bank has right to cancel the order, if the same is not accepted within 5 days from the date of receipt of order.

36. Payment to the vender:

Payment shall be made on monthly basis (on completion of the month) on the invoice raised by the vendor by the respective Regional Office  after verification of uptime report submitted by the vendor and deducting the penalties, if any. Payment shall become due from the date of operationalization of the system at the concerned site. Vendor should submit the invoice within 7 days at the end of the month along with the uptime report.

37. Penalty clause

a) For delay in supply an installation-

The complete Solar power system for ATMs should be delivered and installed at the identified ATM within 4 weeks of placement of order. A penalty of Rs. 2000/- per week per location shall be charged by the Bank in case of delay in installation with maximum delay of 10 weeks. Beyond this bank shall have the option of cancelling the orders/ or forfeiting the EMD/invoking Bank Guarantee unless delay is on part of the bank or reasons beyond control of both vendor/bank.

b) For delay in operationalization/ not providing 98% uptime -

In case solar power system for ATMs is not able to provide power for 98% of the uptime during the 16 hrs on any day penalty amount shall be deducted on pro rata basis from the final payment of that month. Penalty slab

Daily Uptime <98% to >= 96% Penalty will be 20 % of per day rent

Daily Uptime <96% to >= 90% Penalty will be 40 % of per day rent

Daily Uptime < 90% Penalty will be 60 % of per day rent

If Grid Power is not available / available less than four hours in a day, no penalty will be charged for uptime of 90 % and above based on monthly report submitted by vendor. In addition to the above, if the system remains non-functional beyond 24 hrs, as monitored by the vendors centralized monitoring or from lodgment of complaint by the bank, a penalty of 10% of monthly rentals will be levied for each day of failure beyond 24 Hrs provided that total penalty in a month should not exceed total monthly rental payable.

In extraneous circumstances beyond the control of vendor Bank at it's discretion will not levy penalty for the affected period. Bank decision would be final.

c) Calculation of penalty will be based on the MIS report (Uptime Report) provided by the vendor after due verification by the bank. The penalties referred in clause 37 a & b above may be recovered  from  the  future  rentals  and  /or  by  invoking  the  performance  bank  guarantee  or separately realized from the vendor.

If the incident of breakdown (more than 04 Hrs between 8 am to 11 pm) of the equipment occurs three times a month in a particular site then order stands gets automatically cancelled for that particular site and expenditure incurred to reinstate the earlier system at that site will be borne by the solar UPS vendor.

38. DETAILS OF LICENSES

The Successful bidder must furnish a list of all the licenses number of all the software supplied by the Bidder, along with a COA (Certificate of authenticity) from respective OEMs. This must be submitted along with the invoices.

39. FORCE MAJEURE

Notwithstanding the above provisions, the successful bidder shall not be liable for penalty or termination for default if and to the extent that it’s delay in performance or other failure to perform its obligations under the contract is the result of an event of force majeure. For purposes of this clause, “force majeure” means an event beyond the control of the bidder and not involving the bidders’ fault or negligence and not foreseeable. Such events may include, but are not restricted to, war or revolution and epidemics. If a force majeure situation arises, the bidder shall promptly notify the bank in writing of such condition and the cause thereof. Unless otherwise directed by the bank in writing, the bidder shall continue to perform its obligation under the contract as far as is reasonably  practical,  and  shall  seek  all  reasonable  alternative  means  of  performance  not prevented by the force majeure event.

Authorised Signatory Signature Designation

Seal

Date & Place

Annexure-I

Minimum Eligibility Criteria for bidders:

| Sr. No | Pre-Qualification Criteria | Compliance(Yes/ No) | Remarks (if any) |
| --- | --- | --- | --- |
| 1. | The bidder should have national/state level presence and should be engaged in Solar PV Power business in India at least for last 2 years. |  |  |
| 2. | Bidder should be system Integrator or one of their authorized representatives in India. The bidder can have a pre-tender association with another system Integrator/ Technological partner/Technological associates to participate in the tender. However Bank will enter into an agreement only with Bidder who will be solely responsible for the Supply, Installation and Maintenance of Independent Solar Power systems on built, own and operate basis. In case of authorized representative, a letter of authorization to this effect from Manufacturer/System integrator/Supplier must be furnished in accordance with the format provided in Annexure X. |  |  |
| 3. | The bidder should have successfully implemented minimum 75 nos. SOLAR POWER SYSTEMs with remote monitoring system (preferably) in at least 2 Nationalized Banks / Financial institutions / Central Government organizations, for commercial purpose. The certificate to this effect from the organization/s where the bidder has installed the equipment along with a letter of satisfaction should be furnished along with Technical bid. i. Details of installed sites with full address to be submitted ii. Purchase Order from organization regarding number of sites installed iii. Letter of satisfaction from organizations where bidder has installed SPS equipment. II>. Total capacity (Solar power) rolled out till date (specify): |  |  |
| 4. | The bidder should have preferably turnover of Rs.50 lakh, minimum Rs 10 Lakh turnover in the last two financial years (2014-15 and 2015-16) and should have earned profit during each of last two financial years. Audited copy of Balance sheet for financial year 2014-2015 and provisional balance sheet for the year 2015-16 must be submitted along with Technical bid. |  |  |
| 5 | The bidder must be in position to provide the total support for complete system including to components of (Solar PV Module, Inverter & Battery) etc. An undertaking to this effect must be submitted along with Technical Bid. |  |  |
| 6 | The bidder should be able to provide efficient and effective support at all locations where the equipment will be supplied & installed under this bid. So as to meet 24 X 7 services. A commitment to this effect should be furnished. |  |  |
| 7 | Detailed technical specifications of each component of Solar Power System must be submitted in the technical bid. |  |  |
| 8 | The Bidder should have i) Pan card ii) Trade Tax / Sales Tax Registration iii) VAT registration iv) Service Tax registration v) TIN No. Registration (Documentry evidence should be submitted for all above registration.) |  |  |

SUPPORTING DOCUMENT FOR PRE QUALIFICATION FOR BIDDER:

All the interested bidders are requested   to submit   technical bid along with the supporting document in physical form on or before bid submission time.  Please enclose documentary proof for all the above criteria. In absence of these, the bids will not be considered for further evaluation. No further correspondence will be entertained in this case.

Authorised Signatory Signature Designation

Seal

Date & Place

ANNEXURE- II

TERMS AND CONDITIONS:

1.ACCEPTANCE/ CANCELLATION OF ORDER:

If the Bidder fails to deliver and/ or install the equipment within the stipulated time schedule or the extended date communicated by the Bank, it will be a breach of contract. Bank reserves its right to

cancel the order in the event of delay in delivery/ installation/ commissioning of equipment’s.

2.TAXES:

The bid prices shall excluding taxes. Also mention tax rate and total cost per site.

be inclusive of all charges, Taxes, Statuary levies , Octroi  Cess, VAT etc. Service tax shall be admitted additionally at prevalent rates as applicable.

3. ACCEPTANCE TEST :

If deemed fit, Inspection/Acceptance Tests may be carried out to the satisfaction of CBI at the factory and site by CBI or it's representative. The vendor shall provide/extend necessary assistance to CBI officials in the conduct of the acceptance tests/inspection.

4. PAYMENT:

Rent will be paid after the end of the month and satisfactory performance. There would be no provision for advance rental payment.

5. DELIVERY  PERIOD:

Solar Power Systems are to be delivered within 4 weeks from the date of order. The date on which the complete system is delivered will be taken as the date of delivery. In case of part delivery of the system, the date of last items delivered will be taken as the date of delivery.

6. INSTALLATION:

Bidder shall be responsible for installation of the systems ordered at site within 7 days from the date of delivery or within 3 days of logging the call for installation without any installation cost.

7. INSURANCE:

Bidder will get the Insurance cover, for all risks, up to the delivery, Installation of the system up to the contract period. The cost of the same will be borne by the bidder. Bidder has to submit a copy of the insurance cover note /policy to the Bank.

8. The approved Bidder shall provide free maintenance services. Professionally qualified personnel who have expertise in the solution supplied by the Bidder will provide these services.

During the maintenance period also the approved Bidder guarantee on monthly basis an uptime

98% to the entire solution proposed.

The maximum response time for maintenance complaint from the site of installation (i.e. time required for supplier’s maintenance engineers to report to the installation after a request call/fax/e- mail is made or letter is written) shall not exceed 4(Four) hours.

9. PENALTY:

The system is to be delivered within stipulated time from the date of order:-

• 	For this purpose, delivery means delivery of all the ordered equipment including interface

cables at the site along with all the relevant documentation of the system add on utilities as specified in the orders.

• 		The bank is entitled to withhold (deduct) from the monthly rent or any other amount, which is due to bidder/supplier from the contract, or any other contract.

• 	The Bank reserves the right to cancel the order in case complete delivery/services are not affected within the stipulated time.

10. OBTAINING REQUISITE FORMS LIKE FORM 32 etc.

Arranging requisite forms, Like form 32, will be the sole responsibility of the bidder. However, Bank will sign the forms as per the requirement from the bidder. For obtaining the requisite form

the bidder will provide the necessary documents i.e. Performa invoice etc.

11. The Bidders shall adhere to the terms of this RFP and shall not deviate from the same. If the Bidders have absolutely genuine issues only then should they provide their nature of non – compliance to the same in the format provided. The Bank reserves its right to not accept such deviations to the Tender terms.

Authorized Signatory

Signature Designation Seal

Date & Place

Annexure-III

PART - I: Bidder Information

Please provide following information about the Company (Attach separate sheet if required): -

| S. No. | Information | Particulars / Response |  |  |
| --- | --- | --- | --- | --- |
| 1. | Company Name |  |  |  |
| 2. | Date of Incorporation |  |  |  |
| 3. | Company Head Office / Registered Office and Addresses Contact Person(s) Name of all Directors along with names of companies in which they are interested Phone Fax E-mail Website |  |  |  |
| 4. | Provide the range of services /options offered by you covering service description and different schemes available for: Customization Implementation Support Post-implementation Ongoing Support for: •Helpdesk •Training •Documentation •Others (specify) | Yes / No / Comments (if option is ‘No’) |  |  |
| 5 | Any pending or past litigation (within three years)? If yes please give details Also mention the details of claims and complaints received in the last three years (About the Company / Software that are sold / licensed by the company). | Yes/No/Comments (if option is ‘Yes’) |  |  |
| 6. | Please mention turnover for last two years and include the copies of Balance Sheet in support of it. Copies of Audited Balance Sheet for 2012-13 and Provisional Balance Sheet for 2013-14 be attached. | Year | Turnover (in lacs) | Profit/Loss (-) (in lacs) |
|  |  | 2013-14 |  |  |
|  |  | 2014-15 |  |  |
| 7. | Whether company has been debarred or blacklisted for participating in a bid by any bank/financial institution/Govt Company |  |  |  |

Signature of Bidder: Name :

Stamp of the Company

ANNEXURE-IV

TERMS AND CONDITIONS COMPLIANCE

DECLARATION

We hereby undertake and agree to abide by all the terms and conditions stipulated by the Bank in the RFP including all annexure, addendum and corrigendum

Signature and Seal of Bidder

TECHNICAL COMPLIANCE

We certify that the systems/services offered by us for tender conforms to the Technical specifications stipulated by you with the following deviations

List of deviations

1)

2)

3)

4)

Signature and Seal of Bidder

(If left blank it will be construed that there is no deviation)

Annexure V

SERVICE SUPPORT DETAILS:

| Sr. No. | Address | Office Telephone Number | email | Fax No. | Name of contact Person with contact number | Status of Office working days & hours | No. of Maintenan ce Engineers |
| --- | --- | --- | --- | --- | --- | --- | --- |

Authorised Signatory

Signature Designation Seal

Date & Place

Annexure VI

PERFORMANCE CENTRALMENT (FOR A PERIOD OF LAST 2YEARS)

NAME OF BID :

NAME OF FIRM :

| Order Placed by (Full Address of Bank) | Order No. and Date | Description and Quantity of Ordered Equipment | Value of Order | Date of Completion As per actual contract | Remark (reason for late Delivery) if applicable | Performanc e of equipment (Attach certificate from customer. |
| --- | --- | --- | --- | --- | --- | --- |

Authorised Signatory Signature Designation Seal

Date & Place

Annexure VII

Technical Specifications of Solar power systems:

| Sr. No | Requirement Functionality Compliance | Yes /No | Remarks |
| --- | --- | --- | --- |
| 1 | Since the equipment shall be installed at critical sites, the equipment so offered should be capable of generating power of 1.5 KW, 2.5 KW, atleast 16 hours during the day 365 days a year as per below mentioned requirements : Load; Requirements. ONE ATM + 2 CFL + FAN +VSAT Modem (Off-site ATMs); 1.5 KW. ONE ATM + 2 CFL + FAN +Branch Router /Switch +Modem + Gateway Server (On- Site ATMs); 2.5 KW. |  |  |
| 2 | The system should be able to prioritize the use of solar power and use only residual Grid power when available. |  |  |
| 3 | The system is capable to be charged by raw power also as additional option. |  |  |
| 4 | The solution so provided must have a comprehensive remote monitoring system/Local service center |  |  |
| 5 | The report can be exported in pdf, excel, doc etc. |  |  |
| 6 | The Centralized Monitoring system should be capable of monitoring the uptime to ensure that power is available to the ATM for 16 Hrs during the day(as specified By the Bank), 365 days a year. |  |  |

Authorised Signatory

Signature

Designation

Seal

Date & Place

Annexure-VIII

Commercial Bid

Format for Commercial Bid:

| Particulars | Per month rent (Rs) in figures and words |
| --- | --- |
| Per month rental charges as per the below mentioned requirements: (excluding taxes. Also mention tax rate and total cost per site) - 1.5 KW - Rate of every addition of 1 KW |  |

- The bidder has to submit the commercial bid only in the above format. Any other format would be summarily rejected at the time of opening the bid.

- The price should be mentioned in Words also. In case of any difference between amount mentioned in words and number, the amount mentioned in words will prevail.

- Separate commercial bids are to be submitted for different rental and capital cost basis.

- L1 & L2 Will be decided as per the only mentioned above.

Date:

Place:

Yours faithfully,

Signature of Authorized Signatory

Name of Signatory:

Designation:

Seal of Company:

Check List

Annexure-IX

| Sl. No | Documents | (Yes/No) | Document attached at Page no - to - |
| --- | --- | --- | --- |
| 1 | Supporting documents in respect of minimum qualification criteria as per Annexure I. |  |  |
| 2 | Acceptance of terms & conditions as contained in Annexure II. |  |  |
| 3 | Bidders Information as per Annexure III |  |  |
| 4 | Compliance Centralment Annexure IV. |  |  |
| 5 | Service Support Details as per Annexure V. |  |  |
| 6 | Performance Centralment as per Annexure VI. |  |  |
| 7 | Technical Offer indicating compliance to the Banks Requirement as per technical specifications. Annexure VII |  |  |
| 8 | OEM letter as per Annexure X |  |  |
| 9 | Any other document indicating the feature of the product. |  |  |
| 10 | ISO Certification document, if any |  |  |
| 11 | Undertaking from Company Secretary/Authorised signatory certifying that all the components, parts assembly etc used inside the company products / Hardware are new and original. |  |  |
| 12 | Power of attorney, if applicable |  |  |
| 13 | Last two years audited balance sheet and profit and loss account Centralment. |  |  |

ANNEXURE-X

The Assistant General Manager

Zonal Office

Central Bank Of India

Akashdeep Building,

23- Vidhan Sabha Road,

Lucknow-226001

With reference to Independent Solar Power system on built, own and operate basis of our make,

being quoted by the Bidder, vide your tender cited above, we undertake as under:-

We take full responsibility of both Parts & Service SLA as per the contents of this RFP.

Date:

Place:

Yours faithfully,

Signature of Authorized

Signatory

Name of Signatory:

Designation:

Seal of Manufacturer/ Supplier: