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Sealed Tenders are invited by Regional Office, Central Bank of India, Hubli For carrying out electrical audit at all Bank Branches / offices / Onsite ATM premises under Hubli Region from reputed firmsUnder 2-Bid system (Technical bid & Commercial Bid) meeting the Under-noted eligibility criteria for carrying out the work specified in the tender document In accordance with the Bank’s general conditions of contract, special terms & conditions of Contract & Particular terms & conditions of Contract, Standard specifications, Extent of work, Special instructions to bidders as appended on subsequent pages & Annexures.

Important Points:
Central Bank of India, Regional Office- Hubli invites applications from reputed firms, satisfying the eligibility norms stipulated herein this tender document, for carrying out the electrical audit work at 46 Branches & onsite ATMs, Currency chest & Regional Office premises under Hubli Region.

	Description of Work
	Carrying out Electrical Audit work at various offices and ATMs.

	Place of work
	At all identified branches under Hubli Region

	Cost of work
	To be quoted as per the Commercial bid format

	Earnest Money Deposit
	Payment of Rs.5000/- to be made in the form of Banker’s cheque / Demand draft payable in the name of “Regional Office, Central Bank of India, Hubli”. Technical bids without EMD amount shall NOT
be accepted. Will be returned to the un-successful bidders after placing work order by Bank.


	Tender Publish Date
	02.12.2021

	Last date for Submission of Bids
	14.12.2021     05.00 PM

	Date of Opening of Technical Bids
	[bookmark: _GoBack]15.12.2021      03.00 PM

	Contact person name
	Mr.N V Prasad, Asst. Manager, Security

	Contact number
	9502238928

	Place of submission of Bids & opening of bids
	  Central Bank of India
Regional Office, 2nd Floor, Akshay Chabby Corner,Akshay Park, Gokul Road, HUBLI-580030

	Date of Opening Financial Bids
	Will be informed to short listed Bidders who qualify in Technical Bid          stage 

	/ e-mail id for
	operhublro@centralbank.co.in

	correspondence
	





  Regional Manager,
Regional Office, Hubli


Invitation for Tender / Bids (Electrical Audit) – Terms & conditions

1. Central Bank of India, Regional Office – Hubli, invites Sealed Tender/Bids from eligible Electrical consultant / firms for Electrical Audit of branches, ATMs and Currency Chest under Hubli Region in the state of Karnataka.

2 Interested  eligible  Bidders  may  submit  their  response  to  this  tender document at our office located at Regional Office, 2nd Floor, Akshay Chabby Corner, Akshay Park, Gokul Road, Hubli before last date for submission of tender documents as mentioned in this tender document.

3. The response to the Tender document is to be submitted in two-bid system, separately in two sealed covers as per the formats given in this tender document super scribing – “Technical / Commercial Bid for the Electrical Audit of Branches / Office and ATMs under RO:Hubli in the              state of Karnataka”
a) Technical bid
b) Commercial bid

4.  Central Bank of India reserves the right to accept or reject in part or full any or all the offers without assigning any reasons there for at any stage of tender.

5. Date of opening of Commercial bids shall be intimated to technically qualified bidders.

6. The bids submitted late on account of any reasons, whatsoever, will NOT be entertained

 7. Tender documents shall be valid for a period of 90 days from the date of opening of the tender. This shall be binding on all the bidders.

8.Tender document is non-transferable and the selected final bidder shall be executing the work order through their authorized employees only and cannot be given as sub-contract.

9. Rates should be quoted both in words and numbers in the financial bids. No alterations in these figures / words is expected. In case of any alterations / strike off, the amount mentioned in the words shall prevail. All the corrections are to be initialed by authorized signatory of the firm.

10.  All the supporting documents submitted along with the tender document are to be signed by the authorized signatory.

11. Bank may negotiate with the L-1 price bidder for further reduction of rate quoted by bidder.

12. Any additions or deletions in the list of branches is as per the discretion of the Bank.

13.  The bidder who carries out the services shall be bound by all applicable laws in the Karnataka state and hereby undertakes to comply with all laws, ordinances, rules, regulations, bye-laws, decrees and orders whether of Government or other authority or agency having jurisdiction. Bidder shall be responsible for obtaining and maintaining all licenses, permits, clearances, certifications and authorizations which are necessary for the performance of his obligation under scope of work mentioned in tender document.

14. The award of work order to the selected bidder is subject to Karnataka jurisdiction.


   15. In case of any ambiguity or doubt as to meaning of any of the tender clauses / conditions or, if any further information is required, the matter should immediately be referred to Regional Manager, Central Bank of India, Regional Office, 2nd Floor, Akshay Chabby Corner, Akshay Park, Gokul Road, Hubli-580030.

16. EMD – An amount of Rs.5000/- shall be deposited in the form of Banker’s Cheque / Demand Draft issued in the name of “Regional Office, Central Bank of India, Hubli”, payable at Hubli, not issued before the date of publication of this tender document. This Banker’s Cheque / Demand Draft is to be enclosed along with Technical Bid only. Failure to submit the EMD by the bidder shall make the document offered by Bidder as Invalid. The EMD shall be refundable to the bidder’s post placement of work order with L-1 bidder. The EMD of the L-1 bidder shall be returned only after satisfactory completion of work as per the terms of the tender document.

17. It is the responsibility of the bidder to ensure that their firm participating in the bidding process meets all the eligibility criteria stipulated by the Bank and necessary documents are enclosed wherever required. During the course of evaluation of bids, if Bank requires any documentary evidence required for evaluation, the same shall be intimated and bidder is expected to submit within reasonable time period. In case the documentary evidence could not be submitted within stipulated time period, Bank may discard the proposal submitted by the Bidder. All participating Bidders are requested to check the documents wherever required and be included in the technical bid at the initial stage itself.

18.  Eligibility criteria of the bidder:

a) The bidder / consultant / firm / company have to fulfill the following criteria:

b) Proper infrastructure/ office in Hubli or at any other location in the state of Karnataka.

c) The bidder should have 5 years experience in execution of similar works (supporting documents to be annexed in technical bid).

d) The bidder should be an income tax assessee and should have filed income tax return for the last 3 assessment years. (Supporting documents to be annexed in technical bid)

e) The bidder should be profit making in the last 3 years.

f) Average financial turnover for the last 3 financial years should be minimum Rs.10 lakh per year.

g) Bidders are required to submit their full bio-data giving details in the enclosed proforma about their organisation, experience, technical personnel in their organisation, competence etc.

h) The minimum educational qualification of electrical auditor / consultant should be a diploma holder in electrical engineering (DEE) or BEE certification by Ministry of Energy and Power. Bachelor degree in electrical engineering will be considered as advantage to firm.

i) Bidder should have experience of minimum 5 years of electrical audit in Government / PSU / Nationalized Banks. Out of these work orders executed, atleast ONE order should have been executed in the state of Karnataka state.

j) The bidder should submit the copy of registration of the firm.

A) The bidder should have valid sale tax / TIN number / GST number whichever is applicable.
B) The details of employees deputed to Branches should carry ID proof at all times along with copy of the work order.

19. All relevant precautions are to be taken by the bidder / electrical auditor while executing the audit work at all locations. The bidder shall be responsible for all injuries to the work or workmen, to persons, animals or things and for all damages to the structural and /or decorative part of property which may arise from the operations or negligence of himself / their employees.




Annexure –Compliance of terms and conditions -in Technical Bid

I / we have read and understood the instructions and the terms and conditions contained in the tender document.
I do hereby declare that the information furnished in the response to tender document and other supplementary sheets is correct to the best of my / our knowledge and belief.
In case of selection of my / our bid for electrical audit work, we shall be carrying out the electrical audit work in accordance with the terms and conditions there of.

Signature of Authorized Signatory:  	


Name of Authorized Signatory:  	

Designation:  	

Address of firm:  	


Place:

Date:




Scope of Work:

Bidder shall visit all the locations / offices mentioned in the tender document under RO: Hubli at his own cost during working days / hours of the Branches and shall inspect the existing infrastructure of the branches and ATM rooms in case of on-site and shall identify the snags if any in the present system and document the same.

Minor corrections required may be done then and there itself in consultation with the concerned Branch Manager where audit is being undertaken.

Bidder shall provide SLD (Systematic Line Diagram) of electrical system of the branch in separate sheet of each branch / office’s electrical audit report. A copy shall be provided to Regional Office as well at the end of audit for all the locations.

Bidder shall produce photographs of the branches attended and problematic areas to Regional Office in soft copy format (CD / DVD) after execution of audit work for all locations.

Bidder shall provide technical specification and rating for wire and electrical equipment and recommendations in separate sheet for each branch office / electric audit report carried out.

The estimated cost for the implementation of suggested changes if any, may be informed to concerned Branch Manager.

Along with audit, the rectification of observations is simultaneously to be done at the branch in co- ordination with the Branch Manager. The additional expenses if any for material will be paid by respective branch.
No additional charges shall be paid to bidder, apart from the prices quoted in commercial bid.

From the date of issuance of order for conducting the electrical audit, the same shall be completed at all locations within 30 days.

Branch Manager concerned shall be informed by Bidder in advance through mail & phone under copy to Regional Office about the execution of electrical audit in the Branch. Daily schedule of visit locations be informed to concerned Branches & Regional Office.


Payment Terms:
The 100% payment for the electrical audit for each office, will be released by respective Branch Managers on submission of:
A) GST Invoice for the work carried out.
B) Submission of satisfactory completion certificate along with recommendations for defects observed, if any, duly signed by Branch Manager and Electrical auditor.

C) Report of electrical audit carried out, SLD diagram,
D) Minor defect rectification, if any.
E) Over and above the Approved rates mentioned in the work order to be released, shall NOT be paid by Branches. However, the material cost for rectification of defects reported shall be paid by Branch.

Penalty Terms:
Failure to complete the audit within stipulated time by bidder shall attract monetary penalty @ 100/- per branch per day subject to a maximum of Rs.2000/- per branch.

TECHNICAL BID
Basic Information about the Firm / Organization:

	S.No.
	
	Details
	Documents Enclosed?

	1
	Name of the firm / Company Along with Address
	
	

	2
	Contact Details
Name of person: Phone No.
Fax no. E-mail id:
Mobile Number: Website details if any:
	
	

	3
	Date and year of establishment (Enclose relevant documents)
	
	

	4
	Type of organization (Sole proprietor / partnership / private ltd/ co-operative body etc)
	
	

	5
	Details of registration (Documentary evidence to be enclosed)
	
	

	6
	
	
	

	
	Details of electrical audit work orders executed with Govt / PSU / Nationalized Banks etc. (Documentary
evidence to be enclosed)
	
	

	7
	Financial Details of the firm (enclose documentary evidence)
	
	

	8
	No. of years of experience in electrical audit works (Certificate to be enclosed)
	
	

	9
	Income tax returns & balance sheet of the last 3 years (documentary evidence to be enclosed)
	
	

	10
	Name of electrical auditors / engineer / inspector (full details along with qualifications)
(enclose documents)
	
	

	11
	Whether electrical auditor / engineer / inspector is having valid BEE certification (enclose certificate)
	
	

	12
	Income tax PAN number
	
	

	13
	GST number
	
	

	14
	Whether any of the engineer /electrical auditor Is having EA Registraiton from Bureau of Energy
Efficiency? If yes, enclose documentary evidence.
	
	



























Annexure-1
Electrical Audit Inspection Report – Branch / Office – RO: HUBLI
	
Branch No.:	Branch Name:
	S.No.
	Description
	Details
	Remarks

	1
	Date of current inspection
	
	

	2
	Date of previous inspection
	
	

	3
	Date of compliance report submitted previously
	
	

	4
	Whether ATMs attached to the branch are inspected?
	Yes/No
	

	5
	Total power load sanction available to the Branch from concerned electricity supplier. Whether branch is running on 3-Phase or Single Phase?
	Three phase
/Single phase
	If three phase- Current Y phase
Current B Phase

	6
	Total connected load of the premises
	
	

	7
	Existing maximum power demand of the premises
	
	

	8
	Whether enhancement of power load is required?
	Yes/No
	

	9
	Whether existing energy meter is adequate to cater to existing Maximum demand?

If NOT, what is the enhancement required?
	Yes/No
	

	10
	Whether existing main MCB is adequate to cater to total connected load of premises?

If NOT, what is the enhancement required?
	Yes/No
	

	11
	
Whether maintenance of the earth electrode is measured?
	Yes/No
	

	
	What is the value and if NOT within the tolerable limit, whether additional work is required?
	Yes/No
	

	12
	Whether all MCBs were checked for adequacy of capacity and loose connections?
	Yes/No
	

	13
	Whether all cables and wires are checked for its adequate rating and loose connection?
	Yes/No
	

	14
	Whether UPS and its battery bank is safely placed away from inflammable materials?
	Yes/No
	

	15
	Whether adequate capacity contactor is used for timers
used in changeover of Air Conditioners and for signage boards to make auto ON/ OFF?
	Yes/No
	

	16
	Whether all Panel boards and distribution boards were opened and checked for overheating, loose contact, blackening etc?
Details of locations where overheating / loose contact / blackening is observed.
	Yes/No
	

	17
	Whether all Switch boards connected for Computer, Printer, Fax, Modem, Router etc., opened and checked for overheating, loose contacts, blackening etc?
Details of locations where overheating / loose contact / blackening is observed.
	Yes/No
	

	18
	Whether lightening arrestor is provided for the building in which the Branch / ATM is located?
	Yes/No
	

	19
	Whether water seepage is observed near any of the electrical equipments and wirings?
	Yes/No
	

	20
	
	Yes/No
	

	
	Whether provision is there in such a way that entire
electrical system which is not in use at night can be isolated by means of an isolator / industrial socket/MCB
	
	

	21
	है? Whether front lit sign board is used?
	Yes/No
	

	22
	Whether electrical equipment and gadgets have got isolation facility/Switch
	Yes/No
	

	23
	Whether jointing of wire / cables exit or not
	Yes/No
	

	24
	Whether any unwanted live or dead wires are kept open in the premises?
	Yes/No
	

	25
	Whether any loose contact is observed in any of the plug and sockets?
	Yes/No
	

	26
	Whether any extension box or spike buster is used in the premises? If used, whether Manager is advised to change
the same with fixed switch boards?
	Yes/No
	

	27
	Whether the wiring materials, MCB etc used are of reputed make?
	Yes/No
	

	28
	Whether RCCB/RCBO/ELCB is provided in the premises?
	Yes/No
	

	29
	Whether all Switch Gears such as MCB, ELCB, SFU etc. are tested for its functionality?
	Yes/No
	

	30
	Whether adequate number of smoke and heat detectors are in place and also whether they are in working condition?
	Yes/No
	

	31
	Whether any unauthorized taping of electrical connection observed in the Branch premises?
	Yes/No
	



Any other observation / Recommendations should be submitted on separate letter head.
Report along with this format shall be submitted on letter head of the consultant.
 
Signature & Stamp of the Engineer/Electrical Consultant
	Date:

	Place:
Name of Engineer/ Electrical Consultant

	


Along with the above points, inspection is also to be carried out:

	34
	Whether all the equipment available for running the branch setup like computers, network equipment (Switch, Router, Modem etc) are connected to UPS points only or not.
If not, details of equipment not connected to UPS.
	Yes/No
	

	35
	UPS support time at the branch to be informed. AMC / Preventive maintenance record checking is to be carried out.
	
	

	36
	   For each On-site ATM, auditor is expected to verify location of
power supply points. Whether the same is accessible to general public or not?
	
	

	37
	In case any sub-meter installed, location details
thereof+++++++++++++++++, and the working condition of the same.
	
	



**In case of On-site ATMs, the report should be submitted separately in line with above format.
Annexure –Report to be submitted to Branch & RO at the end of audit 
Details of Equipment used at the Branch:

Details of electrical appliances being used at the branch to be summarized as below:
	S.No.
	
	
	
	

	
	Item Name
	No. of equipment used at branch
	Connected on UPS or Not
	Observations if any

	1
	 Network Switch
	
	
	

	2
	Network Router
	
	
	

	3
	Network Modem
	
	
	

	4
	Gateway PC
	
	
	

	5
	Client Systems
	
	
	

	6
	80-Col printers
	
	
	

	7
	132-Col printers
	
	
	

	8
	Scanner
	
	
	

	9
	Laser Printer
	
	
	

	10
	Fax
	
	
	

	11
	Lights
	
	
	

	12
	Fans / Cooler
	
	
	

	13
	AC Units (split / Window) In case of ATM, specify separately
	
	
	

	14
	DG / Generator available or not
	
	
	

	15
	UPS capacity
	
	
	

	16
	No. of batteries of UPS
	
	
	

	17
	On-site ATM details
	
	
	

	18
	Availability of CDK / MFK
	
	
	

	19
	Passbook printer
	
	
	

	20
	Cash counting machines
	
	
	

	21
	CCTV & functioning of all cameras
	
	
	

	22
	Fire Alarm / Burglary alarm
	
	
	

	23
	Inverter details, if any
	
	
	

	24
	Time lock system at vault
	
	
	

	25
	Any other items – please specify
	
	
	



Annexure – Summary Report

 Summary of Recommendations for Branch Office Code:		Branch Name:

	Sr. No.
	Location Details
	Observation
	Recommendation for defects observed.

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	




Overall Risk Rating – High / Medium / Low


Annexure -Commercial Bid

To
Regional Manager,
 Central Bank of India, RegionalOffice,2nd Floor,
Akshay Chabby Corner,
Akshay Park, Gokul Road,
HUBLI-580030.

Reg: Commercial Bid for Electrical Audit

With reference to tender document for electrical audit for various branches / offices and ATMs under RO:Hubli, in the state of Karnataka, we are pleased to offer our best quote for carrying out the work as mentioned in scope of work.
We confirm that the electrical audit reports shall be submitted to concerned branches and Regional Office in prescribed formats as per the scope of work.

	S.No.
	Description of work
	Rate Per
branch / office
	GST & other applicable taxes
	Total amount per branch

	1
	Electrical Audit of all Bengaluru Metro branches & offices and their onsite ATMs as per the branches list	mentioned	in	the	tender notification. The rate shall include
labour cost, travelling, equipment handling etc.
	
	
	

	2
	Electrical Audit of all out station branches &offices and their onsite ATMs as per the branches list mentioned in the tender notification. The rate shall include labour cost, travelling, equipment
handling etc.
	
	
	



	


The individual rate per out station branch in words:  	

We understand that in case of difference of amount mentioned in words and numbers, the value mentioned in words shall prevail to decide on the L-1 Bidder.
All terms and conditions mentioned in the tender document are acceptable to us and shall be binding on us.




 (Signature of Bidder with Seal of Firm)

List of Branch / Office Locations where Electrical Audit is to be undertaken WILL BE INTIMATED WITH THE WORK ORDER TO THE QUALIFIED BIDDER
 
CHECK-LIST FOR DOCUMENTS TO BE SUBMITTED BY BIDDERS
 
Bidders are requested to check the enclosures mentioned below. The list is only indicative and not exhaustive.


Details of Firm:
1. Contact Details
2. Checking for experience details as per requirements mentioned in Tender document
3. Income Tax assessment returns for last 3 years
4. Balance Sheet Statement
5. Details of PAN Card, GST provided
6. EMD amount – Rs.5000/- in form of DD to be enclosed in Technical Bid
7. Commercial Bid in prescribed format without any alterations / corrections
8. Compliance Letter to Bank on tender document on Company’s letter head
9. Copies of Previous Work orders executed by the bidder
10. Two separate sealed envelopes – Technical Bid & Commercial Bid prepared
11. Supporting documents, certification of employees, firm etcare enclosed.
12. Financial turnover of the bidder is exceeding Rs.10 lakh for last 3 years and is profit making.
13. Other relevant documents.


NOTE
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