Consultancy and conducting of Structural Audit and NDT of Bank’s Buildings at Ewart House Building, new survey no. 9434, Fort division, Mumbai.

As mentioned on Tender document, pre-bid meeting was held on 15.12.2021 in Conference room, GF, Ewart House, Fort, Mumbai. The queries raised and their reply is as below:

| S/N | Issue raised by consultants | Dept.’s reply |
| --- | --- | --- |
| 1. | What is the age of the building? | Approx. 99 years. |
| 2. | What is total built-up area of the building? | As mentioned in Tender document pg. no. 30, 1st paragraph, built-up area of the building is approx. 40,000 sqft. |
| 3. | How many floors are there in the building? | As mentioned in Tender document pg. no. 30, 1st paragraph, building has Basement+ GF + 4 story. |
| 4. | Is site visit is allowed? | Yes, in the presence of security guard available on main gate. |
| 5. | Is taking photographs allowed? | Yes, in the presence of security guard available on main gate. |
| 6. | Who is the owner of the building? | Central bank of India |
| 7. | From where to download the form/Tender? | As mentioned in Tender document pg. no. 3, Bid document shall be downloaded from www.centralbankofindia.co.in. |
| 8. | Architectural drawings will be prepared by the consultants, will Bank pay extra for the said work? | As mentioned in Tender document pg. no. 8, para no. 6, preparation of the drawings is part of Broad scope of work; hence, no extra payment shall be paid by Bank on any such account. |
| 9. | At the time of civil repair work, full time site engineer will be required from consultant’s side or not? | Full time site engineer is not required on site but an engineer shall be present at each and every critical/important execution on site, in addition to the site meetings requested by Bank. |
| 10. | No. of Rebound Hammer Test is required? | 30 locations |
| 11. | Tender fee to be paid vide DD/Neft and details required. | As mentioned in Tender document front page, DD of Rs 2,000/- shall be drawn in favor of Central Bank of India, payable at Mumbai. |
| 12. | What are the stages of payment for the fee quoted? | As mentioned in Tender document pg. no. 13, point no. 6. |