| MATERIAL | MANUFACTURER / BRAND NAME |
| --- | --- |
| Aluminium composite panel | Alstone, Alcobond, Eurobond |
| Block board/ Plywood | Century/ Greenply / Archid confirming to IS 303 & IS 710. |
| Modular Grid Ceiling tiles | 600X600, 12-15mm thick perforated tiles of “ ARMSTRONG PVT LTD” |
| Gypsum Ceiling | Gypsum India Ltd, Saint Gobain, USG Boral |
| Teak-Wood, Mouldings, Lippings | First Quality, well-Seasoned Wood Free From all Defects |
| MDF/ Partition Board | Novapan, Greenlam, Archid, Century (Exterior EWP Grade) or equivalent approved by Bank. |
| skirting : (100mm) | Bank's pattern i.e. Blue: Red = 3:1 as per proportion. Greenlam, Eurolam, Formica. (Blue - C=100 M=50 Y=0 K=0) (Red C=0 M=100 Y=65 K=15) |
|  | Red & Blue laminated strips required on walll paneling & partition top side (below false ceiling). This is compulsory on every site. Approved sizes are Blue 3" & Red 1'': (As per bank's approved shade) |
| Mortice Locks, Night Latch | Godrej, 4-C ACME, Ultra, Dorset |
| Multi Purpose Locks | Godrej/ Dorset/ Link/ Harrison |
| Laminate | 1mm Thk. Shade - HL Pine. (Laminate make - Greenlam, Century, Archid, Formica ) |
| Veneer | Durian, Duro, Century |
| Glass | Modi Guard/ Saint Gobain/ Ashai |
| Screw / Nail | G.K.W., Netle Fold |
| Hinges & Hardware | Ozone /Magnum/ Everite all ISI marked |
| Floor Spring | Hemco/ Ozone/ Geze/ Dorma/ Hardwyn/ Godrej Aluminum plate type confirming to IS: 6315 |
| Hydraulic Door Closure | Hyper/ Godrej/ Everite/ Ozone |
| Drawer Slides Telescopic/Keyboard Slide | Godrej, Earl Bihari, EBCO or Hetich make. |
| Key Board Drawer/Tray | Ready to use, computer keyboard tray KBT series keyboard of Earl Bihari, EBCO or Hetich make. |
| Adhesive | Fevicol, Araldite, Mowicol, Mahacol |
| Soft Board | Sitatex or equivalent |
| Paints | Asian, Berger, Deluxe or equivalent as per bank approval |
| Wood preservative | Asian, Nerolac, Wood guard, British |
| Powder coating on all metal section | Ivory Gloss :- H3N00307S9 |
| Cement | L&T, ACC |
| Vitrified Tiles | Kajaria [Shade Kajaria Make (AGCNL- K6211) /same shade matching in Nitco, Johnson Company] as approved by bank |
| Ceramic Tiles | Nitco/Kajaria/ Jhonsan (Sample shall be pre-approved by bank) |
| Vinyl Flooring | Applicable only in strong room are 2mm thk. (Armstrong, Rikwin, Marblex) |
| Bonding/ Water Proofing Chemical | Bal/ Roffe/ Sunanda/ Ciba |
| Sanitary Fittings | Parry Ware/ Hindware |
| Plumbing Fittings | G. I. Pipes, Tata/ Jindal/ Zenith Make C-Class |
| Water Taps, Stop cocks & other fittings | ISI Marked and as per bank approval |
| Insulation Wool | U.F. Twiga, Crown, Lloyd |
| Soil waste & R .W.P. | RIF/BC/SRIF |
| G I fitting | KS ENG. Works/R-mark, K-Mark, Jindal. Tats |
| G I Pipes | Tata/JINDAL/ Hissar |
| Stone ware pipes and gully traps | Perfect/Bura |
| Steel sinks | Neelkant, Nirali |
| Fire Retardant Coating | Viper or Equivalent |
| Wood Preservative | ASCU PS-2 or equivalent |
| Vertical/Venetian Blinds | Vista levellor/MAC |